| 1 | Company / Worker / Phone |  |  |  |
| --- | --- | --- | --- | --- |
| 2 | Commission: | EN81-20/50 EN81-1/2 MRL |
| 3 | Type / Equipement No.&Year hffYYYeaYBaujahr: |  |  |  |
| 4 | Single Elevator SE or Groupe GE, No. of Members 1 Butt. Collective 2 B.Col. |  | C |
| 5 | Is the elevator system a rope- or a hydraulic elevator? Suspension 1:1 od. 2:1 |  | : |
| 6 | Is the system with machine room less MRL or has it a machine room MR? |  | Z/R |
| 7 | Where is the place of the controller? TOP Bottom Distance to the shaft: | m |
| 8 | How many floors/stops does the elevator have? |  | FL |
| 10 | Which hoisting height : m FH= (HS-1) *3 Which shaft height: (SH= FH + 5) |  | m |
| 11 | Is there a Reduced Shaft Head and/or Reduced Shaft Pit available? Inspection stop Door monitoring Folding railing- Descent stopping system |  |
| 12 | Which ultimate load has the lift? |  | KG |
| 13 | Which operating speed has the lift? |  | m/s |
| 14 | How many doors sides has the lift? 1 or 2 or 3 |  | 1-3 |
| 15 | How many shaft doors does the elevator system have in total? |  |  |
| 16 | Shaft copying ANTS-SAFE ELGO-SAFE ANTS-ABS ELGO-ABS so |  |
| 17 | Controller Cabinet-MR: KW01-Hyd KW04-Uni KW06 Base sub-dist-board |  |
| 18 | Controller Cabinet-MRL: KW03 KW240 Service-Panel & Shaft cabinet |  |
| 19 | Cabinet lighting Cabinet ventilation Cabinet air conditioner halogen free |  |
| ROPE | 20a | If rope, Old or New elevator winch? Gearless With gear Traction sheave brake system: Thyssen-NBS, Sassi, Warner, TSB Ebra | Type |
|  | 21a | UCM: GB-lowering-24V GB-lowering-12V Gearless TSB so. |  |
|  | 22a | Rope, Pos.of the speed limiter MR pit-brow remote release ->voltage |  | V |
|  | 23a | Rope, FU: Intern od. Extern GOLIATH-90 Other |  | KW |
|  | 24a | Rope, What is the rated current of the motor? |  | A |
|  | 25a | Rope, What nominal speed and Cos Phi ? |  | U/Min |  | Cos |
|  | 26a | Voltage -brake? 230VAC 205VDC 40VDC, 24VDC od. Voltage reduced(TW) |  | V |
|  | 27a | Impulse gen? W&W extension Solution Hollow shaftThreaded mandrelMxx |  |
|  | 28a | Motor fan: If yes, then 230VAC or 400VAC |  |
| HYDRAULIC | 20b | If Hydraulic Old or New aggregate? Type? ALGI AZST AZRS AZFR Bucher: LRV iValve SaturnAlpha GMV NGVA3 3010 Leistitz Blain Other |  |
|  | 21b | UCM: Lowering protection valve Valve monitoring Intellig.A3-Kopf so. |  |
|  | 22b | Hydraulic, Gentle start SAG-90 or frequency controlled? ->Typ: |  |
|  | 23b | Hydraulic, what power does the motor have(KW)? What nominal current(A)? |  | A |
|  | 24b | Hydraulic, Slack rope or. Speed limiter -> Remote release ->Voltage |  | V |
|  | 25b | Hydraulic, Number of valves? Valve tension? |  | V |
|  | 26b | Oil heating if yes 230V AC so. Oil cooler if yes 400V AC |  | V |
|  | 27b | Fine-Releveling , if yes rated power: 11 KW 15 KW |  |  |
|  | 28b | Holding apparatus , if yes hydraulic motorized magnetic |  |  |
| DOORS | 30 | Revolving door or Automatic door in the floor? |  |
|  | 31 | If revolving door, what voltage has the bar magnet? 230 AC, 205 VDC,40 VDC |  | V |
|  | 32 | Cabin door: -> Automatic door or -> Folding door or -> none? |  |
|  | 33 | If no Cab door, Safety light grid? -> CEDES LX or.Li -> |  |
|  | 34 | Car door autom.or folding cab do. 400VAC 230VAC(ATxx-Eco-Sematic-) |  |
|  | 35 | Optional Car door and blocking If yes DLF1 MO/EM other |  |
| FUNCTION | 41 | Fire evacuation If yes 1 Level 2 Levels Dynamic |  |  |
|  | 42 | Evacuation journey EN81-76: If yes Automatic Leader operation |  |  |
|  | 43 | Emergency power service Single lift Following switch Emergen.diesel |  |  |
|  | 44 | Rope-USV spin brake EVA-90 3-Phase USV Hydr-USV valve op. |  |  |
|  | 45 | Fire fighter control If yes EN81-72 or TRA City: |  |  |
|  | 46 | HPG-60 also deliver? Yes- Control and light off? If yes, floor |  |  |
|  | 47 | Floorblocking Landing priority Floor? If yes, floor |  |  |
|  | 48 | Counter: Travel Operating hours Maint. Display (10-Counters) |  |  |

| Car-Panel Type: | Car position- and continued travel display |
| --- | --- |
| IT – COP – 900 x 180mm | Matrix-Display-33, Digit height 30 | Red | Blue |
| IT – COP – 1000 x 180mm | Matrix-Display-53, Digit height 54 | Red | Blue |
| IT – COP – 1200 x 180mm | TFT-Display-70 7,1’’ 153 x 95 mm, 4096 Colours |
| IP – CEP Panel – 2200 x 230 x20 mm | TFT-Display-100 10,1’’ 216 x 135 mm, 4096 Colours |
| Surface-mounted-Version | Data field according to EN standard,emerg.light illumin. |
| Surface-mounted-IT | Surface-mounted-IP |  | KG or |  | Persons |
| Material | Const.year: |  | Unit.No.: |  |
| V2A K240 | V2A Linen | CE No. |  | Manufac.: |  |
| V2A Glass bead | V2A Titanium oxide | Company logo | Colour print | Engraved | Lasered |
| V2A High polish | V2A Powdered | Fire text | Colour print | Engraved | Lasered |
| Special-Panelbox | Fire logo | Colour print | Engraved | Lasered |
| Waterproof IP54 | Sink mounting | Alarm text | Colour print | Engraved | Lasered |
| Additional operator panel? | Speech field 1, Internal intercom KW SA-60 |
| Only w. door-open-d | D-open & D-closed | Speech field 2, External Emergency call |
| D-Op, D-Cl. & Key | Complete w.Display | Telegärt. NRT | SAFELINE | BASE |
|  | Amphitec | Behnke | Other |
|  | TK Teleservice | OTIS REM | KONE Xineon |
|  | Speech field 3, Voice message/External Loudspeaker |
|  | Call button Red Blue White Green |
|  | Standard models: | Special models: |
|  | Button KI-44 32 x32mm | Button MT-42 32 x32mm |
|  | Button KI-46 Ø 30mm | Button RT-42 Ø 30mm |
|  | Button VV-46 Ø30mm V2 | Button VB-42 Ø 30mm V2 |
|  | Button KB-44 32 x32mm |  |
|  | Button KB-46 Ø 30mm | Button KW60 Ø 14mmIP67 |
|  | Button KB-60 50 x50mm | Button B50 50 x50mm |
|  | Button KB-66 Ø 50mm | Button B50R Ø 50mm |
|  | OPTIONAL |
|  | Button RESET | Button Loading time |
|  | Button 2x Dopen&Dclos. | Button Fan |
|  | Key button | Braille |
|  | Emergency stop |  |
|  | Identification fields |
|  | Schäfer 32 x 63 Plexi | BS Tab. 40 x 80 V2A |
|  | Schäfer 32 x 63 Beleucht. | BS Tab. 40 x 80 Beleucht. |
| Key switch - Functions | Structure according to EN- 81/70 |
| Special trip | Priority | Green Ring Mainfloor | Cabin bell |
| STG & Light Off | Release | Safety Ring Alert Pushbut. | Voice message |
| Dividing door |  | Structure according to EN- 81/73 elev.f.fire depart. |
| Transponder – Card reader | Fire fighter-lock inside | FW-Pictograms |
| Special trip | Priority | Fixture: |
| Car call | Release | Screwed | Divided | Invisible | Fold |
| Features: |  |

| Standard – Exterior Panel Type: | Car position- and continued travel display |
| --- | --- |
| AT – 1 KS Double arrow 200 x 60mm pcs.: | Double arrow display | Red | Blue |
| AT – 2 KS Double arrow 250 x 60mm pcs.: | Out-of-order-display | Red | Blue |
| AT – 1 KS Matrix displ.250 x 80mm pcs. : | Elevator full-Display | Red | Blue |
| AT – 2 KS Matrix displ.300 x 80mm pcs.: | Matrix-Display-22, Digit height 20 | Red | Blue |
| Surface-mounted design | Matrix-Display-32, Digit height 30 | Red | Blue |
| Material: | LCD-Display-30 3,0’’ 69 x 66 mm, Background Blue |
| V2A K240 | V2A Linen | TFT-Display-28 2,8’’ 60 x 42 mm, 4096 colours |
| V2A Glass bead | V2A Titanium oxide | Company logo | Color print. | Engraved | Lasered |
| V2A High polish | V2A Powdered | Fire text | Color print. | Engraved | Lasered |
|  | Fire logo | Color print. | Engraved | Lasered |
|  | Call button Red Blue White Green |
|  | Standard models: | Special models: |
|  | Button KI-44 32 x32mm | Button MT-42 32 x32mm |
|  | Button KI-46 Ø 30mm | Button RT-42 Ø 30mm |
|  | Button VV-46 Ø30mm V2 | Button VB-42 Ø 30mm V2 |
|  | Button KB-44 32 x32mm |  |
|  | Button KB-46 Ø 30mm | Button KW60 Ø 14mmIP67 |
|  | Button KB-60 50 x50mm | Button B50 50 x50mm |
|  | Button KB-66 Ø 50mm | Button B50R Ø 50mm |
|  | OPTIONAL |
|  | Key button RESET | Key button preference |
|  | Emergency stop | Braille |
|  | Key switch - functions |
|  | Special trip | Fire department lock |
|  | STG & Light OFF | Release |
|  | Transponder -card reader |
|  | Special trip | Release |
|  | Fixture: |
|  | Frame box | Wall sleeve | Caisson |
|  | Screwed | Invisible | Protection IP54 |
| Exterior Display Typ: Piece: | Car position- and continued travel display |
| Only the Display | Display & Bell | Double arrow display | Red | Blue |
| Display & 2x Arrows | Display-2xArrows-Go | Matrix-Display-33, Digit height 30 | Red | Blue |
|  | Matrix-Display-52, Digit height 54 | Red | Blue |
|  | Matrix-Display-53, Digit height 54 | Red | Blue |
|  | LCD-Display-V50 144 x 79 mm, Background Blue |
|  | TFT-Display-43 4,3’’ 99 x 57 mm, 4096 Colours |
|  | TFT-Display-70 7,1’’ 153 x 95 mm, 4096 Colours |
|  | Perforated fields with bell-speakers (Attention! With ER-2014) |
|  | Fixture: |
|  | Frame box | Wall sleeve | Surface-mounted |
|  | Screwed | Invisible | Protection IP54 |
| Features: |  |